Home Extension, 37 Mt Eagle Green V0.2


(V0.1 was verbally agreed between client and builder. Changes/additions to v0.1 are shown here in blue italics. Deletions are shown crossed out. 


Changes in bold are new and have not yet been verbally agreed)


Scope


Architecture Drawings with the following exceptions


Breeze block wall with insulation to be used instead of cavity wall for gable wall, as it is next to neighbours (#37) wall anyhow. 


Existing kitchen pillar to remain to form part of kitchen counter (similar to 41B Mt. Eagle View).


Wall at front to #39 extends only 60cms not 90cms as drawn. Porch is to extend 60cms only.


Kitchen garden wall should be 450mm not 900mm, and run the width of the kitchen apart from where the glazed doors reach the floor.


Sky tube to family bathroom to be discarded. Instead box in the Velux light in the attic to reach the bathroom.


Non-opening window to be inserted in the doorway being blocked between hall and kitchen.


French doors in library to be set at window height instead of floor level to avoid problem of water collecting in the planter area. Idea of planter area disbanded.


Low front garden wall to be built between us and #39 and bordering footpath. Single leaf rendered blockwork with redbrick coping and redbrick pillars with concrete capstones, similar to wall between #39 & #41.


Glass block window to be added in en-suite





Construction Details


Room details


Hall/Landing


New Hall door, centred with two sidepanels and one panel to the side. Overhead glazed panel desirable.


Outdoor light. Security Light 


Doorbell


Toughened Glass safety banisters on landing


Fanlight to be used on new doorway to bedroom 4.


Living Room


Bay Window, Two side windows opening top and to side. Centre pane fixed.


Triple radiator under window seat


Window seat is painted white wood, cut to facilitate air flow. 


2 recessed lights in bay, 4 recessed lights in kitchen end of living room.


Light switch location moved, lamp circuit installed (3 sockets)


New partition wall skimmed.


Plain white painted doors to storage room. Interior partition in storage room moved. Two separate doors into the two storage areas created rather than the double door as currently shown.


New radiator on kitchen wall


Ceiling Skimmed & painted


Walls repainted


Doors â€“ Semi-glazed solid wood doors. Painted white. No new architraves required.


Floors â€“ laminated wood, 3inch bullnosed skirting.











Kitchen


Rationel doors, windows and skylights. Triple glazing DOMUS Pine finish. Note 180 degree opening french doors that may be fastened open out of the way. Minimum 2 small top opening window parts and two fully opening windows.


Kitchen floor to be tiled throughout. Kitchen splashback to be tiled. Tiles at clients expense. Floor tiles to be also used as skirting.


Low radiators on new garden wall.


Kitchen units, worktops and appliances (purchased at owners expense) to be installed by builders.


Worktop strip lighting to be installed.


Wall lights in new built kitchen extension





Den


Rationel glazing & single door (180 degree)


What roof material?


6 recessed lights


2 wall lights


Outdoor Tap (located on wall where shed currently exists)


Outdoor Garden light 


Spiral Staircase (RJB? which one?)


Workshop


Stainless steel sink plumbed & fitted (can reuse kitchen sink)


Downstairs WC


Sanitary Ware â€“ What's the PC sum allowed? -250 Euro


Taps? 


Plumbing and electricity for washer/dryer appliances


 Master Bedroom


Is it possible to reuse current built-in wardrobes? - Yes, doors can be reused, carpenter to remake interiors if needed.


Arch â€“ should it be curved or straight? - Client to decide on site


En-suite sanitary ware â€“ what's the PC sum allowed? - 1000 Euro


Power shower fitted


Fully tiled (client to purchase tiles).


TV Point added.


Library


Rationel French Doors


Tongued & Grooved Pine Floor boards & 6inch moulded skirting.


Stairs to Mezzanine (what type?) Builder suggests PC figure of 2000.


Mezzanine 


Tongued & Grooved Pine Floor boards & 6inch moulded skirting.


'Step' to be tongued & grooved also


Metal decorative safety rail








Insulation â€“ This section can be deleted as it is satisfied by meeting the 2001 Building Regulations.


What floor insulation is used? Radon layer, suspended concrete, etc.. What thickness of what Kingspan material will be used? 


What wall insulation?


What roof insulation? (between/under rafter insulation, insulating panels, permeable felt, batons, tiles, thickness of insulation etc...


What is the expected U-figure?


PVC Windows/Hall door Senator Windows? Global windows? - Builder usually uses Belgarde Windows â€“ PC figures yet to be supplied.





Miscellaneous


House alarm rewired.


Interior & Exterior of new build to be painted.


3 double sockets added as standard to each new room


2 double sockets to be fitted to attic space.


Electric shower(purchased at clients expense) to be fitted in existing bathroom.





Constraints


Temporary mini-kitchen(sink, fridge, hob) to be provided while main kitchen is being worked on.


Either front bedroom or living room to be available throughout work (if possible).


Gas heating not to be turned off until electric shower installed.





Schedule


Estimated duration 10 â€“ 14 weeks. i.e. Beginning on June 27th, estimated completion date is September 9th â€“ October 2nd.








